## Slide 1: OCT diagram
Stephan
2018/09/23

## Slide 2
Alazar
Power
100-240V AC
3.3V
3.3V
3.3V
1
2
6
7
8
Interlock
3
USB
Sweep
trigger
K-clock
K-clock
Sweep
trigger
Ch1
Ch1
Ch2
Ch2
Laser
OCT signal1
OCT signal2
BD1
BD2
DI/O
computer
computer
Axsun
Laser & digitizer circuit | Draw by Stephan C | Check by | 09/24/18 | Sheet no. 1
Axsun interlock Pins
DAQ
0-1.2V TTL
100KHz
0-0.8V
1376 Sample
/310MHz
OCT signal3
OCT signal4
trigger

## Slide 3
Galvo
Driver1
GVS001
+15V
-15V
Gnd
1
2
3
J10
J7
JP4
J9
1
2
3
Galvo
Driver2
GVS001
+15V
-15V
Gnd
1
2
3
J10
J7
JP4
J9
J6
diagnose
1
2
3
J7 Pin# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
Function | Command Input +v [-10V,10V] | Command Input -v | Not used | External Enable | -12V Output | +12V Output | Ground | Ground
Moter2
Moter1
J6
diagnose
DAC & Galvo circuit | Draw by Stephan C | Check by | 09/24/18 | Sheet no. 2
1
8
DAQ
AO1
AO2
JP4: configure external enabling by placing a jumper across pin2 and pin3 in JP4, then use pin4 in J7 as ON/OFF. No signal and plus signal is considered ON, while minus signal is considered OFF
Trigger
digitizer
computer
card
1
1
8
8
8
1
DI
Feed back
AI
AI

## Slide 4
Power
supply
Axsun
Alazar
Power
3.3V
1
8
Interlock
K-clock
0-0.8V
Laser
OCT signal1
OCT signal2
BD1
BD2
DI/O
OCT signal3
OCT signal4
trigger
Sweep
Trigger
0-1.2V
100kHz
Ch1
Ch2
3.3V
3.3V
100-240VAC
PCIe bus
Galvo
Driver1
GVS001
+15V
-15V
Gnd
1
2
3
J10
J7
JP4
2
3
Motor1
NI
DAQ
AO
AO
8
1
AI
AI
J6
8
1
J9
Galvo
Driver2
GVS001
1
2
3
J10
J7
JP4
2
3
Motor2
8
1
J6
8
1
J9
computer
DI
Power
supply
+15V
-15V
Gnd
ON/OFF
Pointing laser ON/OFF
Laser current
OCT wiring diagram | Draw by Stephan C | Check by | 09/24/18 | Sheet no. 1
USB
AI
AI
AI
transmitters
DO
DO
DO
detector
AO
AO
PCIe bus
Command signal
Position error*5
Command signal
Position error*5
Laser
energy

## Slide 5
Power
supply
Axsun
Alazar
Power
3.3V
1
8
Interlock
K-clock
0-0.8V
Laser
OCT signal1
OCT signal2
BD1
BD2
DI/O
OCT signal3
OCT signal4
trigger
Sweep
Trigger
0-1.2V
100kHz
Ch1
Ch2
3.3V
3.3V
100-240VAC
PCIe bus
X-Galvo
Driver
GVS001
+15V
-15V
Gnd
1
2
3
J10
J7
JP4
2
3
Motor-X
X
DAQ
AO
8
1
AI
J6
8
1
J9
Y-Galvo
Driver
GVS001
1
2
3
J10
J7
JP4
2
3
Motor-Y
8
1
J6
8
1
J9
computer
DI
Power
supply
+15V
-15V
Gnd
ON/OFF
Pointing laser ON/OFF
Laser current
OCT wiring diagram | Draw by Stephan C | Check by | 09/24/18 | Sheet no. 1
USB
AI
transmitters
detector
AO
PCIe bus
Command signal
Position error*5
Command signal
Position error*5
Laser
energy
Y
DAQ
AO
AI
DI
AI
AO
AI
trigger
DO
PCIe bus
DO
DO
DO
DO
DO

## Slide 6
J6 Pin# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
Function | Scanner Position | Internal Command Signal | Positioning Error x 5 | Motor Drive Current | Not used | Test Input (NC) | Motor + Coil Voltage / 2 | Ground
Meaning | Proportional to the position of scanner mirror, scaled by 0.5 | The input voltage, scaled by 0.5 | (Pin1-Pin2)*5 | The drive current of the motor(2V per A) |  |  | The drive voltage to the “+” side of the motor coil. Scaled by 0.5. The drive voltage determines the current, the current determines the acceleration of motor. | 
J9 Pin# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
Function | Position Sensor A Current | Position Sensor Ground | Position Sensor Cable Shield | Drive Cable Shield | Position Sensor B Current | Position Sensor Power | Motor + Coil | Motor -Coil
GVS001 Galvo J6 diagnostic Pins configuration
GVS001 Galvo Pins | Draw by Stephan C | Check by | 09/24/18 | Sheet no. 2
J7 Pin# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
Function | Command Input +v [-10V,10V] | Command Input -v | Not used | External Enable | -12V Output | +12V Output | Ground | Ground